## Slide 1
Pneumonia is the world’s number one killer of children under 5

## Slide 2
Pneumonia App Prototype

## Slide 3
Screen 0
Function(s): This is the user access point.
Collect data on the user type (health worker in hospital versus CHW in community)
Gauge variability across users in terms of device use and
Options & Functionality
User name
  Name of the person collecting the data
  Should have auto-complete for repeat users
User location
  Hospital visit versus community visit
User Type
  Drop down menu
  Hospital health worker, doctor, nurse, community health worker
ENTER
  This follows one of two streams depending on the data provided above
  Hospital stream
  Community stream
User Name
User Type
ENTER
User Location

## Slide 4
Screen 1
Function(s): Patient identification
Identify patient
Options & Functionality
Patient ID
  Can be entered directly if available
Name
  First name of child
Address
  Drop down menu of possible locations
Gender
  Drop down
Date of birth
  Select from calendar
The four patient parameters should be linked to a unique patent ID!
Date of birth
Address
Gender
Name
Patient ID

## Slide 5
Screen 2 (Hospital stream)
Options & Functionality
Hospital results
  User chooses this option if they need to report X-rays & blood test on a patient whose measurements were previously taken
New measurement
  This is to complete the cycle of measurement for a new patient or for a follow-up case
View previous visits
  This is only available if data on the same patient was recorded in the past
Hospital results
New measurement
Function(s):
Take new measurements
Report results
View previous visits

## Slide 6
Screen 3a (Hospital stream)
Options & Functionality
Pulse oximetry
  Should take user to screen showing them how to place a probe on the child’s finger
Respiratory rate
  Should take user to screen showing them how to record RR
Temperature
  Should instruct user on how to measure
Digital stethoscope
  Should take user to a screen that shows them where to place the stethoscope
At the end of all measurements there should a summary screen!
Digital stethoscope
Pulse oximeter
Function(s): Taking measurements
Acquire new data with the available tools
Respiratory rate
Temperature

## Slide 7
Screen 3b (Hospital stream)
Options & Functionality
X-rays
  Record X-ray results
Blood tests
  Record blood test results
Doctor’s diagnosis
  Record doctor’s diagnosis
Blood tests
X-rays
Function(s): Reporting results
Record results acquired with advanced hospital tools
Doctor’s diagnosis

## Slide 8
Screen 3b (Hospital stream)
Options & Functionality
X-rays
  Record X-ray results
Blood tests
  Record blood test results
Doctor’s diagnosis
  Record doctor’s diagnosis
Blood tests
X-rays
Function(s): Reporting results
Record results acquired with advanced hospital tools
Doctor’s diagnosis

## Slide 9
Screen 3c (Hospital stream)
Options & Functionality
Source
  Should be able to click on each measurement and check where it was taken
Recommendations
  Recommendations on what disease progression is indicative of???
Function(s): View summary of previous visits
Provide hospital staff with access to information from previous visits at the community or hospital
 | 01/03/2016 | 12/03/2016
RR | 44 | 50
HR | 62 | 65
SpO2 | 95 | 95
Labs | - | -
X-rays | - | -
Notes: Add demographics

## Slide 10
Screen 2 (Community stream)
Options & Functionality
New measurement
  Acquire data for a new case
Follow-up
  Depending on patient identification, if patient has already been diagnosed and requires follow-up at community level, this will be highlighted here
Function(s): Taking measurements
Acquire new data with the available tools
Follow-up
New measurement

## Slide 11
Screen 2 (Community stream)
Options & Functionality
Pulse oximetry
  Should take user to screen showing them how to place a probe on the child’s finger
Respiratory rate
  Should take user to screen showing them how to record RR
Temperature
  Should instruct user on how to measure
Digital stethoscope
  Should take user to a screen that shows them where to place the stethoscope
At the end of all measurements there should be recommendations on how to proceed!
Function(s): Taking measurements
Acquire new data with the available tools
Digital stethoscope
Pulse oximeter
Respiratory rate
Temperature